## Sheet1
Location | Block | Equipment Name | Sub Equipment Name | Make | Qty. | Capacity/ Rating | Equipment Serial No. | IP Address | IP for Equipment
PV Field | 1 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027001 | 10.22.250.9 | MGW
PV Field | 1 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(01)01/01 | 10.22.250.6 | Relay Port
PV Field | 1 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/01
PV Field | 1 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 1 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1433
PV Field | 1 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2473000511, I2472900008, I2480100047, I2473000516
PV Field | 1 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000511 | 10.22.250.2
PV Field | 1 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900008 | 10.22.250.3
PV Field | 1 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100047 | 10.22.250.4
PV Field | 1 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000516 | 10.22.250.5
PV Field | 1 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 3KVA,Nominal Voltage-160-280Vac,Battaery- (42AHX16NOS) | C1202428455000 | 10.22.250.10 | MGW
PV Field | 1 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2329
PV Field | 1 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 1 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 1 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDBB/01
PV Field | 1 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.7 | MGW
PV Field | 1 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.8 | MGW
PV Field | 1 | PLC | [5 empty] | 10.22.250.1
PV Field | 1 | Tracker | Master Controller-28 IP-1 | Gamechanger | 1 |  |  | 10.22.251.1 | Gateway
PV Field | 1 | Tracker | Master Controller-28 IP-2 | Gamechanger | 1 |  |  | 10.22.251.2 | Gateway
PV Field | 1 | Tracker | Master Controller-29 IP-1 | Gamechanger | 1 |  |  | 10.22.251.3 | Gateway
PV Field | 1 | Tracker | Master Controller-29 IP-2 | Gamechanger | 1 |  |  | 10.22.251.4 | Gateway
PV Field | 1 | Robot | Gateway ITC-1 | Solbright | 1 |  |  | 10.22.251.129 | Gateway
PV Field | 2 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027006 | 10.22.250.20 | MGW
PV Field | 2 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(02)01/01 | 10.22.250.17 | Relay Port
PV Field | 2 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/02
PV Field | 2 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 2 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1434
PV Field | 2 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100052, I2480100015, I2480100035, I2472900001
PV Field | 2 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100052 | 10.22.250.13
PV Field | 2 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100015 | 10.22.250.14
PV Field | 2 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100035 | 10.22.250.15
PV Field | 2 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900001 | 10.22.250.16
PV Field | 2 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 3KVA,Nominal Voltage-160-280Vac,Battaery- (42AHX16NOS) | C1202428455001 | 10.22.250.21 | MGW
PV Field | 2 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2333
PV Field | 2 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 2 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 16 | PV Yard LIGHTNING ARRESTOR
PV Field | 2 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDBB/02
PV Field | 2 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.18 | MGW
PV Field | 2 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.19 | MGW
PV Field | 2 | PLC | [5 empty] | 10.22.250.12
PV Field | 2 | Tracker | Master Controller-27 IP-1 | Gamechanger | 1 |  |  | 10.22.251.5 | Gateway
PV Field | 2 | Tracker | Master Controller-27 IP-2 | Gamechanger | 1 |  |  | 10.22.251.6 | Gateway
PV Field | 2 | Robot | Gateway ITC-2 | Solbright | 1 |  |  | 10.22.251.130 | Gateway
PV Field | 3 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027016 | 10.22.250.31 | MGW
PV Field | 3 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(03)01/01 | 10.22.250.28 | Relay Port
PV Field | 3 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/03
PV Field | 3 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 3 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1435
PV Field | 3 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100026, I2480100038, I2480100008, I2480100020
PV Field | 3 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100026 | 10.22.250.24
PV Field | 3 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100038 | 10.22.250.25
PV Field | 3 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100008 | 10.22.250.26
PV Field | 3 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100020 | 10.22.250.27
PV Field | 3 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 3KVA,Nominal Voltage-160-280Vac,Battaery- (42AHX16NOS) | C1202428455002 | 10.22.250.32 | MGW
PV Field | 3 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2339
PV Field | 3 | Solar Module |  | WAAREE ENERGY | 37500 | 545 Wp | 20.625MWp
PV Field | 3 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 11 | PV Yard LIGHTNING ARRESTOR
PV Field | 3 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDB/03
PV Field | 3 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.29 | MGW
PV Field | 3 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.30 | MGW
PV Field | 3 | PLC | [5 empty] | 10.22.250.23
PV Field | 3 | Tracker | Master Controller-25 IP-1 | Gamechanger | 1 |  |  | 10.22.251.7 | Gateway
PV Field | 3 | Tracker | Master Controller-25 IP-2 | Gamechanger | 1 |  |  | 10.22.251.8 | Gateway
PV Field | 3 | Tracker | Master Controller-26 IP-1 | Gamechanger | 1 |  |  | 10.22.251.9 | Gateway
PV Field | 3 | Tracker | Master Controller-26 IP-2 | Gamechanger | 1 |  |  | 10.22.251.10 | Gateway
PV Field | 3 | Robot | Gateway ITC-3 | Solbright | 1 |  |  | 10.22.251.131 | Gateway
PV Field | 4 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027009 | 10.22.250.42 | MGW
PV Field | 4 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(04)01/01 | 10.22.250.39 | Relay Port
PV Field | 4 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/04
PV Field | 4 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 4 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1436
PV Field | 4 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100048, I2480100025, I2480100051, I2480100045
PV Field | 4 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100048 | 10.22.250.35
PV Field | 4 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100025 | 10.22.250.36
PV Field | 4 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100051 | 10.22.250.37
PV Field | 4 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100045 | 10.22.250.38
PV Field | 4 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202428455001 | 10.22.250.43 | MGW
PV Field | 4 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2333
PV Field | 4 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 4 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 14 | PV Yard LIGHTNING ARRESTOR
PV Field | 4 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDBB/02
PV Field | 4 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.40 | MGW
PV Field | 4 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.41 | MGW
PV Field | 4 | PLC | [5 empty] | 10.22.250.34
PV Field | 4 | Tracker | Master Controller-24 IP-1 | Gamechanger | 1 |  |  | 10.22.251.11 | Gateway
PV Field | 4 | Tracker | Master Controller-24 IP-2 | Gamechanger | 1 |  |  | 10.22.251.12 | Gateway
PV Field | 4 | Robot | Gateway ITC-4 | Solbright | 1 |  |  | 10.22.251.132 | Gateway
PV Field | 4 | WMS | Datalogger |  | 1 |  |  | 10.22.251.177 | Gateway
PV Field | 5 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027007 | 10.22.250.53 | MGW
PV Field | 5 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(05)01/01 | 10.22.250.50 | Relay Port
PV Field | 5 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/05
PV Field | 5 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 5 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1437
PV Field | 5 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100023, I2480100039, I2473000502, I2480100024
PV Field | 5 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100023 | 10.22.250.46
PV Field | 5 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100039 | 10.22.250.47
PV Field | 5 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000502 | 10.22.250.48
PV Field | 5 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100024 | 10.22.250.49
PV Field | 5 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202428455004 | 10.22.250.54 | MGW
PV Field | 5 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2331
PV Field | 5 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 5 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 15 | PV Yard LIGHTNING ARRESTOR
PV Field | 5 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDB/05
PV Field | 5 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.51 | MGW
PV Field | 5 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.52 | MGW
PV Field | 5 | PLC | [5 empty] | 10.22.250.45
PV Field | 5 | Tracker | Master Controller-23 IP-1 | Gamechanger | 1 |  |  | 10.22.251.13 | Gateway
PV Field | 5 | Tracker | Master Controller-23 IP-2 | Gamechanger | 1 |  |  | 10.22.251.14 | Gateway
PV Field | 5 | Tracker | Master Controller-22 IP-1 | Gamechanger | 1 |  |  | 10.22.251.15 | Gateway
PV Field | 5 | Tracker | Master Controller-22 IP-2 | Gamechanger | 1 |  |  | 10.22.251.16 | Gateway
PV Field | 5 | Robot | Gateway ITC-5 | Solbright | 1 |  |  | 10.22.251.133 | Gateway
PV Field | 6 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027004 | 10.22.250.64 | MGW
PV Field | 6 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(06)01/01 | 10.22.250.61 | Relay Port
PV Field | 6 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/06
PV Field | 6 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 6 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1438
PV Field | 6 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2472900005, I2472900009, I2472900003, I2473000515
PV Field | 6 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900005 | 10.22.250.57
PV Field | 6 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900009 | 10.22.250.58
PV Field | 6 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900003 | 10.22.250.59
PV Field | 6 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000515 | 10.22.250.60
PV Field | 6 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456941 | 10.22.250.65 | MGW
PV Field | 6 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2328
PV Field | 6 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 6 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 6 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDB/06
PV Field | 6 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.62 | MGW
PV Field | 6 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.63 | MGW
PV Field | 6 | PLC | [5 empty] | 10.22.250.56
PV Field | 6 | Tracker | Master Controller-21 IP-1 | Gamechanger | 1 |  |  | 10.22.251.17 | Gateway
PV Field | 6 | Tracker | Master Controller-21 IP-2 | Gamechanger | 1 |  |  | 10.22.251.18 | Gateway
PV Field | 6 | Robot | Gateway ITC-6 | Solbright | 1 |  |  | 10.22.251.134 | Gateway
PV Field | 7 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027002 | 10.22.250.75 | MGW
PV Field | 7 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(07)01/01 | 10.22.250.72 | Relay Port
PV Field | 7 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/07
PV Field | 7 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 7 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1439
PV Field | 7 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100017, I2480100007, I2480100029, I2480100032
PV Field | 7 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100017 | 10.22.250.68
PV Field | 7 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100007 | 10.22.250.69
PV Field | 7 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100029 | 10.22.250.70
PV Field | 7 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100032 | 10.22.250.71
PV Field | 7 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456942 | 10.22.250.76 | MGW
PV Field | 7 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2345
PV Field | 7 | Solar Module |  | WAAREE ENERGY | 37500 | 550 Wp | 20.625MWp
PV Field | 7 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 14 | PV Yard LIGHTNING ARRESTOR
PV Field | 7 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDB/07
PV Field | 7 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.73 | MGW
PV Field | 7 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.74 | MGW
PV Field | 7 | PLC | [5 empty] | 10.22.250.67
PV Field | 7 | Tracker | Master Controller-20 IP-1 | Gamechanger | 1 |  |  | 10.22.251.19 | Gateway
PV Field | 7 | Tracker | Master Controller-20 IP-2 | Gamechanger | 1 |  |  | 10.22.251.20 | Gateway
PV Field | 7 | Tracker | Master Controller-19 IP-1 | Gamechanger | 1 |  |  | 10.22.251.21 | Gateway
PV Field | 7 | Tracker | Master Controller-19 IP-2 | Gamechanger | 1 |  |  | 10.22.251.22 | Gateway
PV Field | 7 | Robot | Gateway ITC-7 | Solbright | 1 |  |  | 10.22.251.135 | Gateway
PV Field | 7 | WMS | Datalogger |  | 1 |  |  | 10.22.251.178 | Gateway
PV Field | 8 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027012 | 10.22.250.86 | MGW
PV Field | 8 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(08)01/01 | 10.22.250.83 | Relay Port
PV Field | 8 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/08
PV Field | 8 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 8 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1440
PV Field | 8 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2472900010, I2480100034, I2480100021, I2480100009
PV Field | 8 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900010 | 10.22.250.79
PV Field | 8 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100034 | 10.22.250.80
PV Field | 8 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100021 | 10.22.250.81
PV Field | 8 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100009 | 10.22.250.82
PV Field | 8 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456943 | 10.22.250.87 | MGW
PV Field | 8 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2330
PV Field | 8 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 8 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 16 | PV Yard LIGHTNING ARRESTOR
PV Field | 8 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230V AC | RMCPL/1688/UPSDB/08
PV Field | 8 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.84 | MGW
PV Field | 8 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.85 | MGW
PV Field | 8 | PLC | [5 empty] | 10.22.250.78
PV Field | 8 | Tracker | Master Controller-14 IP-1 | Gamechanger | 1 |  |  | 10.22.251.23 | Gateway
PV Field | 8 | Tracker | Master Controller-14 IP-2 | Gamechanger | 1 |  |  | 10.22.251.24 | Gateway
PV Field | 8 | Tracker | Master Controller-13 IP-1 | Gamechanger | 1 |  |  | 10.22.251.25 | Gateway
PV Field | 8 | Tracker | Master Controller-13 IP-2 | Gamechanger | 1 |  |  | 10.22.251.26 | Gateway
PV Field | 8 | Robot | Gateway ITC-8 | Solbright | 1 |  |  | 10.22.251.136 | Gateway
PV Field | 9 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027005 | 10.22.250.97 | MGW
PV Field | 9 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(09)01/01 | 10.22.250.94 | Relay Port
PV Field | 9 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/09
PV Field | 9 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 9 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1441
PV Field | 9 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2473000513, I2473000507, I2473000510, I2480100027
PV Field | 9 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000513 | 10.22.250.90
PV Field | 9 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000507 | 10.22.250.91
PV Field | 9 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000510 | 10.22.250.92
PV Field | 9 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100027 | 10.22.250.93
PV Field | 9 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456944 | 10.22.250.98 | MGW
PV Field | 9 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2335
PV Field | 9 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 9 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 9 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/09
PV Field | 9 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.95 | MGW
PV Field | 9 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.96 | MGW
PV Field | 9 | PLC | [5 empty] | 10.22.250.89
PV Field | 9 | Tracker | Master Controller-15 IP-1 | Gamechanger | 1 |  |  | 10.22.251.27 | Gateway
PV Field | 9 | Tracker | Master Controller-15 IP-2 | Gamechanger | 1 |  |  | 10.22.251.28 | Gateway
PV Field | 9 | Robot | Gateway ITC-9 | Solbright | 1 |  |  | 10.22.251.137 | Gateway
PV Field | 10 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027008 | 10.22.250.108 | MGW
PV Field | 10 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(10)01/01 | 10.22.250.105 | Relay Port
PV Field | 10 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/10
PV Field | 10 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 10 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1442
PV Field | 10 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2473000514, I2473000506, I2473000518, I2472900004
PV Field | 10 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000514 | 10.22.250.101
PV Field | 10 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000506 | 10.22.250.102
PV Field | 10 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000518 | 10.22.250.103
PV Field | 10 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900004 | 10.22.250.104
PV Field | 10 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456945 | 10.22.250.109 | MGW
PV Field | 10 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2337
PV Field | 10 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 10 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 10 | PV Yard LIGHTNING ARRESTOR
PV Field | 10 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/10
PV Field | 10 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.106 | MGW
PV Field | 10 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.107 | MGW
PV Field | 10 | PLC | [5 empty] | 10.22.250.100
PV Field | 10 | Tracker | Master Controller-18 IP-1 | Gamechanger | 1 |  |  | 10.22.251.29 | Gateway
PV Field | 10 | Tracker | Master Controller-18 IP-2 | Gamechanger | 1 |  |  | 10.22.251.30 | Gateway
PV Field | 10 | Robot | Gateway ITC-10 | Solbright | 1 |  |  | 10.22.251.138 | Gateway
PV Field | 11 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027015 | 10.22.250.119 | MGW
PV Field | 11 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(11)01/01 | 10.22.250.116 | Relay Port
PV Field | 11 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/11
PV Field | 11 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 11 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1443
PV Field | 11 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2473000509, I2473000517, I2473000505, I2472900006
PV Field | 11 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000509 | 10.22.250.112
PV Field | 11 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000517 | 10.22.250.113
PV Field | 11 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000505 | 10.22.250.114
PV Field | 11 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900006 | 10.22.250.115
PV Field | 11 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456946 | 10.22.250.120 | MGW
PV Field | 11 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2341
PV Field | 11 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 11 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 10 | PV Yard LIGHTNING ARRESTOR
PV Field | 11 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/11
PV Field | 11 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.117 | MGW
PV Field | 11 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.118 | MGW
PV Field | 11 | PLC | [5 empty] | 10.22.250.111
PV Field | 11 | Tracker | Master Controller-17 IP-1 | Gamechanger | 1 |  |  | 10.22.251.31 | Gateway
PV Field | 11 | Tracker | Master Controller-17 IP-2 | Gamechanger | 1 |  |  | 10.22.251.32 | Gateway
PV Field | 11 | Robot | Gateway ITC-10 | Solbright | 1 |  |  | 10.22.251.139 | Gateway
PV Field | 11 | WMS | Datalogger |  | 1 |  |  | 10.22.251.179 | Gateway
PV Field | 12 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027014 | 10.22.250.130 | MGW
PV Field | 12 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(12)01/01 | 10.22.250.127 | Relay Port
PV Field | 12 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/12
PV Field | 12 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 12 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1444
PV Field | 12 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100041, I2480100046, I2480100036, I2480100050
PV Field | 12 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100041 | 10.22.250.123
PV Field | 12 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100046 | 10.22.250.124
PV Field | 12 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100036 | 10.22.250.125
PV Field | 12 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100050 | 10.22.250.126
PV Field | 12 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456947 | 10.22.250.131 | MGW
PV Field | 12 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2343
PV Field | 12 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 12 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 11 | PV Yard LIGHTNING ARRESTOR
PV Field | 12 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/12
PV Field | 12 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.128 | MGW
PV Field | 12 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.129 | MGW
PV Field | 12 | PLC | [5 empty] | 10.22.250.122
PV Field | 12 | Tracker | Master Controller-12 IP-1 | Gamechanger | 1 |  |  | 10.22.251.33 | Gateway
PV Field | 12 | Tracker | Master Controller-12 IP-2 | Gamechanger | 1 |  |  | 10.22.251.34 | Gateway
PV Field | 12 | Tracker | Master Controller-11 IP-1 | Gamechanger | 1 |  |  | 10.22.251.35 | Gateway
PV Field | 12 | Tracker | Master Controller-11 IP-2 | Gamechanger | 1 |  |  | 10.22.251.36 | Gateway
PV Field | 12 | Robot | Gateway ITC-12 | Solbright | 1 |  |  | 10.22.251.140 | Gateway
PV Field | 13 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027010 | 10.22.250.141 | MGW
PV Field | 13 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(13)01/01 | 10.22.250.138 | Relay Port
PV Field | 13 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/AUX.ACDB/13
PV Field | 13 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 13 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1445
PV Field | 13 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100042, I2480100040, I2473000512, I2473000503
PV Field | 13 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100042 | 10.22.250.134
PV Field | 13 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100040 | 10.22.250.135
PV Field | 13 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000512 | 10.22.250.136
PV Field | 13 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000503 | 10.22.250.137
PV Field | 13 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456948 | 10.22.250.142 | MGW
PV Field | 13 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2346
PV Field | 13 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 13 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 11 | PV Yard LIGHTNING ARRESTOR
PV Field | 13 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/13
PV Field | 13 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.139 | MGW
PV Field | 13 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.140 | MGW
PV Field | 13 | PLC | [5 empty] | 10.22.250.133
PV Field | 13 | Tracker | Master Controller-16 IP-1 | Gamechanger | 1 |  |  | 10.22.251.37 | Gateway
PV Field | 13 | Tracker | Master Controller-16 IP-2 | Gamechanger | 1 |  |  | 10.22.251.38 | Gateway
PV Field | 13 | Tracker | Master Controller-10 IP-1 | Gamechanger | 1 |  |  | 10.22.251.39 | Gateway
PV Field | 13 | Tracker | Master Controller-10 IP-2 | Gamechanger | 1 |  |  | 10.22.251.40 | Gateway
PV Field | 13 | Robot | Gateway ITC-13 | Solbright | 1 |  |  | 10.22.251.141 | Gateway
PV Field | 14 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027003 | 10.22.250.152 | MGW
PV Field | 14 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(14)01/01 | 10.22.250.149 | Relay Port
PV Field | 14 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/14
PV Field | 14 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 14 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1446
PV Field | 14 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2473000520, I2480100037, I2472900007, I2480100053
PV Field | 14 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000520 | 10.22.250.145
PV Field | 14 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100037 | 10.22.250.146
PV Field | 14 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900007 | 10.22.250.147
PV Field | 14 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100053 | 10.22.250.148
PV Field | 14 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456949 | 10.22.250.153 | MGW
PV Field | 14 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2340
PV Field | 14 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 14 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 13 | PV Yard LIGHTNING ARRESTOR
PV Field | 14 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/14
PV Field | 14 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.150 | MGW
PV Field | 14 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.151 | MGW
PV Field | 14 | PLC | [5 empty] | 10.22.250.144
PV Field | 14 | Tracker | Master Controller-9 IP-1 | Gamechanger | 1 |  |  | 10.22.251.41 | Gateway
PV Field | 14 | Tracker | Master Controller-9 IP-2 | Gamechanger | 1 |  |  | 10.22.251.42 | Gateway
PV Field | 14 | Robot | Gateway ITC-14 | Solbright | 1 |  |  | 10.22.251.142 | Gateway
PV Field | 14 | WMS | Datalogger |  | 1 |  |  | 10.22.251.180 | Gateway
PV Field | 15 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027018 | 10.22.250.174 | MGW
PV Field | 15 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(15)01/01 | 10.22.250.171 | Relay Port
PV Field | 15 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/15
PV Field | 15 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 15 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1447
PV Field | 15 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100054, I2480100049, I2473000519, I2480100005
PV Field | 15 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100054 | 10.22.250.167
PV Field | 15 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100049 | 10.22.250.168
PV Field | 15 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000519 | 10.22.250.169
PV Field | 15 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100005 | 10.22.250.170
PV Field | 15 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456950 | 10.22.250.175 | MGW
PV Field | 15 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2327
PV Field | 15 | Solar Module |  | WAAREE ENERGY | 37500 | 550 Wp | 20.625MWp
PV Field | 15 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 15 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/15
PV Field | 15 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.172 | MGW
PV Field | 15 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.173 | MGW
PV Field | 15 | PLC | [5 empty] | 10.22.250.166
PV Field | 15 | Tracker | Master Controller-8 IP-1 | Gamechanger | 1 |  |  | 10.22.251.43 | Gateway
PV Field | 15 | Tracker | Master Controller-8 IP-2 | Gamechanger | 1 |  |  | 10.22.251.44 | Gateway
PV Field | 15 | Robot | Gateway ITC-15 | Solbright | 1 |  |  | 10.22.251.143 | Gateway
PV Field | 16 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027013 | 10.22.250.174 | MGW
PV Field | 16 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(16)01/01 | 10.22.250.171 | Relay Port
PV Field | 16 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/16
PV Field | 16 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 16 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1448
PV Field | 16 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100019, I2480100033, I2480100012, I2480100010
PV Field | 16 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100019 | 10.22.250.167
PV Field | 16 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100033 | 10.22.250.168
PV Field | 16 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100012 | 10.22.250.169
PV Field | 16 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100010 | 10.22.250.170
PV Field | 16 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456995 | 10.22.250.175 | MGW
PV Field | 16 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2342
PV Field | 16 | Solar Module |  | WAAREE ENERGY | 37500 | 550 Wp | 20.625MWp
PV Field | 16 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 16 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/16
PV Field | 16 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.172 | MGW
PV Field | 16 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.173 | MGW
PV Field | 16 | PLC | [5 empty] | 10.22.250.166
PV Field | 16 | Tracker | Master Controller-6 IP-1 | Gamechanger | 1 |  |  | 10.22.251.45 | Gateway
PV Field | 16 | Tracker | Master Controller-6 IP-2 | Gamechanger | 1 |  |  | 10.22.251.46 | Gateway
PV Field | 16 | Robot | Gateway ITC-16 | Solbright | 1 |  |  | 10.22.251.144 | Gateway
PV Field | 17 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 2407020 | 10.22.250.185 | MGW
PV Field | 17 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(17)01/01 | 10.22.250.182 | Relay Port
PV Field | 17 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/17
PV Field | 17 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 17 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1449
PV Field | 17 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100018, I2480100014, I2480100022, I2480100006
PV Field | 17 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100018 | 10.22.250.178
PV Field | 17 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100014 | 10.22.250.179
PV Field | 17 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100022 | 10.22.250.180
PV Field | 17 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100006 | 10.22.250.181
PV Field | 17 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456996 | 10.22.250.186 | MGW
PV Field | 17 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2336
PV Field | 17 | Solar Module |  | WAAREE ENERGY | 37500 | 550 Wp | 20.625MWp
PV Field | 17 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 17 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/17
PV Field | 17 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.183 | MGW
PV Field | 17 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.184 | MGW
PV Field | 17 | PLC | [5 empty] | 10.22.250.177
PV Field | 17 | Tracker | Master Controller-7 IP-1 | Gamechanger | 1 |  |  | 10.22.251.47 | Gateway
PV Field | 17 | Tracker | Master Controller-7 IP-2 | Gamechanger | 1 |  |  | 10.22.251.48 | Gateway
PV Field | 17 | Tracker | Master Controller-5 IP-1 | Gamechanger | 1 |  |  | 10.22.251.49 | Gateway
PV Field | 17 | Tracker | Master Controller-5 IP-2 | Gamechanger | 1 |  |  | 10.22.251.50 | Gateway
PV Field | 17 | Robot | Gateway ITC-17 | Solbright | 1 |  |  | 10.22.251.145 | Gateway
PV Field | 18 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027011 | 10.22.250.196 | MGW
PV Field | 18 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(18)01/01 | 10.22.250.193 | Relay Port
PV Field | 18 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/18
PV Field | 18 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 18 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1450
PV Field | 18 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100011, I2480100044, I2473000501, I2480100030
PV Field | 18 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100011 | 10.22.250.189
PV Field | 18 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100044 | 10.22.250.190
PV Field | 18 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000501 | 10.22.250.191
PV Field | 18 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100030 | 10.22.250.192
PV Field | 18 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429456997 | 10.22.250.197 | MGW
PV Field | 18 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2334
PV Field | 18 | Solar Module |  | WAAREE ENERGY | 37500 | 545 Wp | 20.625MWp
PV Field | 18 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 18 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/18
PV Field | 18 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.194 | MGW
PV Field | 18 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.195 | MGW
PV Field | 18 | PLC | [5 empty] | 10.22.250.188
PV Field | 18 | Tracker | Master Controller-6 IP-1 | Gamechanger | 1 |  |  | 10.22.251.51 | Gateway
PV Field | 18 | Tracker | Master Controller-4 IP-2 | Gamechanger | 1 |  |  | 10.22.251.52 | Gateway
PV Field | 18 | Robot | Gateway ITC-18 | Solbright | 1 |  |  | 10.22.251.52 | Gateway
PV Field | 18 | WMS | Datalogger |  | 1 |  |  | 10.22.251.181
PV Field | 19 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027019 | 10.22.250.207 | MGW
PV Field | 19 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(19)01/01 | 10.22.250.204 | Relay Port
PV Field | 19 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/19
PV Field | 19 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 19 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1451
PV Field | 19 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2473000508, I2472900002, I2480100028, I2480100043
PV Field | 19 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2473000508 | 10.22.250.200
PV Field | 19 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2472900002 | 10.22.250.201
PV Field | 19 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100028 | 10.22.250.202
PV Field | 19 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100043 | 10.22.250.203
PV Field | 19 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429454998 | 10.22.250.208 | MGW
PV Field | 19 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2338
PV Field | 19 | Solar Module |  | WAAREE ENERGY | 37845 | 545 Wp | 20.625MWp
PV Field | 19 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 12 | PV Yard LIGHTNING ARRESTOR
PV Field | 19 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/19
PV Field | 19 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.205 | MGW
PV Field | 19 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.206 | MGW
PV Field | 19 | PLC | [5 empty] | 10.22.250.199
PV Field | 19 | Tracker | Master Controller-3 IP-1 | Gamechanger | 1 |  |  | 10.22.251.53 | Gateway
PV Field | 19 | Tracker | Master Controller-3 IP-2 | Gamechanger | 1 |  |  | 10.22.251.54 | Gateway
PV Field | 19 | Robot | Gateway ITC-19 | Solbright | 1 |  |  | 10.22.251.147 | Gateway
PV Field | 20 | Inverter Transformer |  | Danish Pvt. Ltd. | 1 | 17600 kVA | 24027017 | 10.22.250.218 | MGW
PV Field | 20 | ICOG Panel (HT Switchgear) |  | Technocraft Electric Pvt Ltd. | 1 | 36kV,1250A | 24123910(20)01/01 | 10.22.250.215 | Relay Port
PV Field | 20 | ACDB |  | R.M.Controls(P) Ltd | 1 | 63A, FP BB, 3PH, 4WIRE,415Vac,50HZ, 25KA For 1sec. | RMCPL/1688/ACDB/20
PV Field | 20 | Aux Transformer |  | R.M.Controls(P) Ltd | 1 | 15kVA, 0.66/0.415 kV
PV Field | 20 | SCADA Panel |  | Adaptive Engineering Pvt Ltd. | 1 | 230 V AC / 24 V DC | AEPL/CP/24-25/1452
PV Field | 20 | Inverter |  | Sungrow Developers India Ltd. | 4 | 4400 kW | I2480100031, I2480100016, I2480100013,I24C2300421
PV Field | 20 | Inverter | Inv-1 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100018 | 10.22.250.211
PV Field | 20 | Inverter | Inv-2 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100014 | 10.22.250.212
PV Field | 20 | Inverter | Inv-3 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100022 | 10.22.250.213
PV Field | 20 | Inverter | Inv-4 | Sungrow Developers India Ltd. | 1 | 4400 kW | I2480100006 | 10.22.250.214
PV Field | 20 | UPS with Battery |  | Fuji Electric India Pvt.Ltd | 1 | DESC: UPS 2KVA,FIN,96VDC,1-1PH,(120AHX8NOS)SPL | C1202429454999 | 10.22.250.219 | MGW
PV Field | 20 | Fire Fighting System |  | CTR | 1 | 17600 kVA | 24FP1S2344
PV Field | 20 | Solar Module |  | WAAREE ENERGY | 37500 | 550 Wp | 20.625MWp
PV Field | 20 | PV Yard LIGHTNING ARRESTOR |  | CIKIT Electricals and Technologies | 14 | PV Yard LIGHTNING ARRESTOR
PV Field | 20 | UPS DB |  | R.M.Controls(P) Ltd | 1 | 230 V AC | RMCPL/1688/UPSDB/20
PV Field | 20 | MGW AUX ACDB MFM | [5 empty] | 10.22.250.216 | MGW
PV Field | 20 | MGW MFM 33KV ICOG PANEL | [5 empty] | 10.22.250.217 | MGW
PV Field | 20 | PLC | [5 empty] | 10.22.250.210
PV Field | 20 | Tracker | Master Controller-2 IP-1 | Gamechanger | 1 |  |  | 10.22.251.55 | Gateway
PV Field | 20 | Tracker | Master Controller-2 IP-2 | Gamechanger | 1 |  |  | 10.22.251.56 | Gateway
PV Field | 20 | Tracker | Master Controller-1 IP-1 | Gamechanger | 1 |  |  | 10.22.251.57 | Gateway
PV Field | 20 | Tracker | Master Controller-1 IP-2 | Gamechanger | 1 |  |  | 10.22.251.58 | Gateway
PV Field | 20 | Robot | Gateway ITC-20 | Solbright | 1 |  |  | 10.22.251.148 | Gateway